Vidyalankar Institute of Technology

Standard Operating Procedure Development

Process Documentation

Module: Repair & Maintenance

Table of Contents

15.	Process: Repair & Maintenance	3

15.1: Sub process – Electrical Maintenance	3

15.4: Sub process – Civil Maintenance	5

# Process: Repair & Maintenance

| ## 15.1: Sub process – Electrical Maintenance |  |
| --- | --- |
| Key Objectives | - To ensure proper working of the electrical equipments, generator etc - To ensure on time and proper repair of the electrical equipments - Monitor monthly electricity bill and minimize it |  |
| Key Inputs | - Pre-defined contracts for repair / maintenance of electrical equipments |  |

| Process description |  |
| --- | --- |
| Key Activities | Description |  |
| - Areas covered | - The electrical department is entrusted with the responsibility to manage the following electrical operations: - Networking wires - Telephones - Generators - Other electrical equipment like water cleaners, lifts, motor pumps, electric cables, air conditioners, coolers etc - Any measurement meters related to electrical equipments |  |
|  | - The areas that come under the purview of the electrical department include - Classrooms - Corridor - Public places in Campus - Departments - Any other areas in the premise of college / campus |  |
| - Stock Maintenance & Order | - The electrical department is required to maintain the stock of goods related to electrical maintenance and repair – Capex and consumables |  |
|  | - The department should raise the indent for any requirement by the 25th of every month. The requirement should be calculated on the basis of estimation for the next month. In case there is a shortfall of any item in the middle of the month. The department can place the order for the same |  |
|  | - Any goods received by the department post the purchase of the goods should be recorded in the register and the stock should be updated with the product details. The following details should be captured: - Item description - Quantity - Price - Date of purchase - Signature |  |
|  | - Any goods issued by the maintenance department should be recorded in the issue register. The issue register should comprise of the following: - Item description - Quantity - Issued to - Place of installation - Date of issue - Signature of the issue and issuer |  |
|  | - Once the good is issued the stock register should be updated with the quantity |  |
|  | - The department should continuously record the usage of generator as mentioned in “Usage Recordings” and should place the order for diesel when the quantity of diesel falls below 200 liters |  |
| - Usage Recordings | - The electrical department should monitor and record the usage readings of electricity and diesel on a daily basis |  |
|  | - It should check the readings of all the electricity meters installed in the institute on a daily basis and record the readings. The following details should be captured: - Meter Areas - Current Reading - Previous Reading - Usage on date - Usage till date (from 1st April) - Signature of the recorder |  |
|  | - The department should also check the usage of diesel in the generator on a daily basis. It should record the followings: - Starting time - Switch off time - Daily running of generator (Hours of operations) - Opening quantity of diesel - Quantity of diesel filled - Date of diesel filling - Quantity of diesel at the switch off time - Diesel consumed |  |
|  | - The sub-meters installed in the campus for facilities such as Canteen etc should be recorded. The recordings should be on a daily basis. On the first day of every month the recordings should be given to accounts section for receipt of payments for the usage of electricity |  |
| - Preventive Maintenance | - In case of generator, the department should check the generator on a daily basis. In case any thing is found not to be working properly, the department should call the AMC vendor of the generator for repair. The AMC contractor should be called for servicing after 400 hours or 6 months of running whichever is less |  |
|  | - The department employee should at least once a week visit all the public areas and check whether the electrical equipments like lights, fans etc are working. In case of any problem, they should repair / replace it |  |
|  | - Any preventive maintenance should be recorded in the log book and should comprise of the following details: - Location - Type (Repair / Inspection) - Any item installed / replaced - Last repair date of the same item / type of repair - Date - Person - Signature |  |
| - Corrective Maintenance | - In case of any repair required , the department should perform the necessary repair work. Any corrective maintenance should be recorded in the log book and should comprise of the following details: - Location - Type of Repair - Any item installed / replaced - Last repair date of the same item / type of repair - Date - Person - Signature |  |
|  | - In case the department receives any call for the corrective maintenance, it should be recorded in the complaint book comprising of the following field: - Name of complaint - Date - Type of complaint - Assigned person for repair |  |
|  | - Once the repair has been performed the assigned person should sign in the complaint book stating that the repair work has been complete |  |
| - AMC Renewal | - The AMC for the repair and maintenance of the equipment should be done by the college and approved by the Corporate office |  |

| Key Outputs | - List of complaints / repairs - Stock book - Usage records |
| --- | --- |
| KPIs | - TAT(Turnaround Time) for completion of the repair work |

| ## 15.4: Sub process – Civil Maintenance |  |
| --- | --- |
| Key Objectives | - To ensure proper repair, maintenance and construction of civil related work - To ensure proper recording of all the work done under civil section - To undertake any new civil work |  |
| Key Inputs | - Pre-defined contracts for civil repair and maintenance work |  |

| Process description |  |
| --- | --- |
| Key Activities | Description |  |
| - Areas covered | - The civil department is entrusted with the responsibility to perform repair and maintenance of the following - Small constructions - Plumbing - Painting - Carpentry |  |
| - Preventive Maintenance | - The department personnel on a monthly basis should take a round of the college premises to identify any maintenance required |  |
|  | - In case of the any findings for preventive maintenance, the person should perform the required work |  |
|  | - Any work performed as part of the preventive maintenance, should be recorded along with the following details and approved by the section head at the end of the day - Date and Time - Location / nature of work - Person undertaking work - Signature of person working and section in-charge |  |
| - Corrective Maintenance | - In case the section receives any request for repair / construction, it should record the following details - Date - Requestor’s name - Department - Location - Nature of work |  |
|  | - The section person should inspect the repair / construction required |  |
|  | - In case it is a small repair without any material, the repair should be done. Post inspection by the requestor, the person should take a signature of the requestor towards completion of the work. The status of completion should be recorded by the section in-charge |  |
|  | - In case of materials required for repair / construction, the section person should prepare a note sheet. The note sheet should comprise of the following details - Date - Location - Nature of work - Material required - Budget estimate - Expected date of completion of work |  |
|  | - This note sheet is sent to the Director for approval |  |
|  | - The Director should decide whether the material required can be purchased directly or through an indent |  |
|  | - In case of the direct purchase, the director should approve it. This approved note sheet should be taken to the accounts section and cash advance for purchase should be collected |  |
|  | - In case of purchase through the indent, process mentioned in “Purchases” below is to be followed |  |
|  | - On the receipt of the required material, the section should commence the work. Once the work is complete, the requestor should be informed about the same. The requestor should inspect and verify the completeness and quality of work |  |
|  | - Once the inspection is complete, the section should close the request for the repair / construction work |  |
|  | - In case of any remaining material, the stock should be recorded by the section and kept with the stores |  |
| - Purchases | - In case of the direct purchase, the approval should be sought from Dean Administration and Director. This approved note sheet should be taken to the accounts section and cash advance for purchase should be collected. Once the construction work is complete and approved by the requestor, the section person should submit the original bills along with the completion certificate to the accounts team |  |
|  | - In case the approval for purchase is through the indent process, the maintenance department person raises an indent for the material required as per the approved note sheet. The process for the purchase through indent is present in the “Process Documents for Stores & Purchase” |  |
| - Reporting | - The section should prepare a monthly report on the preventive maintenance undertaken by them. It should comprise of the following details - Date - Nature of work - Location of work - Note sheet number (if any) - Costing - Work undertaken by - Signature of person undertaken work - Signature of section in-charge |  |
|  | - The section should prepare a monthly report on the corrective maintenance undertaken by them. It should comprise of the following details - Date - Nature of work - Location of work - Note sheet number - Tentative finish date - Costing - Work undertaken by - Signature of person undertaken work - Signature of section in-charge |  |

| Key Outputs | - List of complaints / repairs - Usage records |
| --- | --- |
| KPIs | - TAT for completion of the repair work |

Report usage limitations

This report is intended solely for the information and use of the management of Vidyalankar and is not intended to be and should not be used by anyone other than these specified parties. Ernst & Young therefore assumes no responsibility to any user of the report other than Vidyalankar Management. Any other persons who choose to rely on our report do so entirely at their own risk.

Limitations of procedures

As it is practically not possible to study all aspects of a process in its entirety thoroughly during the limited time period of a review, based on our methodology for conducting the exercise, we conducted a review of the process and held discussions with the process owners and other key people in the process during the planning stage of audit which helped us in identifying specific areas where control weaknesses & process gaps may exist, opportunities for process improvement and/or cost reduction/revenue enhancement. Our subsequent test work, study of issues in detail and developing action plans are directed towards the issues identified. Consequently this report may not necessarily comment on all the function / process related matters perceived as important by the management.

The issues identified and proposed action plans in this report are based on our discussions with the people engaged in the process, review of relevant documents/records and our physical observation of the activities in the process. We made specific efforts to verify the accuracy and authenticity of the information gathered only in those cases where it was felt necessary. The work carried out and the analysis thereof is based on the interviews with the personnel and the records provided by them.

The identification of the issues in the report is mainly based on the review of records, sample verification of documents / transactions and physical observation of the events. As the basis of sample selection is purely judgmental in view of the time available, the outcome of the analysis may not be exhaustive and representing all possibilities, though we have taken reasonable care to cover the major eventualities.